## Slide 1: Automation of the process of the measure of the tritium levels in water
Author:
Marcos Martínez Roig
Supervisors:
José Díaz Medina
Nadia Yahlali Haddou
1

## Slide 2: Index
Introduction
Explain the method to level of one channel.
Extending to several channels.

## Slide 3: Introduction
We need to use SiPM in the Tritium Project for several reasons:
  SiPMs have bigger PDE (50%) than PMTs (30%).
  SiPMs need a lower supply voltage () than PMTs (high voltage).
But we have found new problems:
  The gain depend on the temperature
  We need have a constant gain.
  We have had to develop a method which allow to maintain the constant gain.

## Slide 4: Introduction
SiPM:
  Two-dimensional array of pixels, which can detect a photon
Model of the SiPM (In this job): Hamamatsu Photonics,
The final model will be: Hammamtsu Photonics,

## Slide 5: Explain the method to level of one channel.
Experimental instrumentation.
¿How can you calculate the gain of the SiPM?
The dependence:
  Gain vs Temperature
  Gain vs Supply voltage
Method of compensation.
5

## Slide 6: Experimental instrumentation
Experimental instrumentation:
  Control system of the temperature (DYCOMETAL, CCM 81)
  Voltage generator:
    Keithley, 6517B
    ISO-TECH, IPS-4303
  Diodo LED (Roithner Laser Technik):
  Pulse generator
  SiPM:
  Card (G=170) T=25ºC

## Slide 7: Calculate of the gain of the SiPM.
Out signal of the system (T=25ºC, H=60%, ):
Synchronization signal of the system Trigger
The gain of the SiPM:
Trigger
Señal
Fondo

## Slide 8: Data analysis
Out signal of the system:
Ped.
1
2
3
4
5
6
7

## Slide 9: Análisis de datos
Calculo de la ganancia:
  Método 1:
  Método 2:

## Slide 10: Data analysis (ROOT)
The calculate of the gain:
(V)

## Slide 11: Análisis de datos
Resultados de la ganancia:
  Método 1:
  Método 2:

## Slide 12: Calibration in temperature and supply voltage
Condiciones de temperatura.

## Slide 13: Calibration in temperature
(ºC)

## Slide 14: Calibration in supply voltage
(V)

## Slide 15: Stabilization of the gain
Both dependence (temperature and supply voltage):
Equation of compensation:
We need a reference situation:
Check:
  The previous situation.

## Slide 16: Stabilization of the gain
Compensation of the variation in the gain due tu the variation in the temperature with the variation of the supply voltage ()
(ºC)

## Slide 17: Extending to several channels.
Development of the method which allow us maintain de value of the gain
Extend this method to several channels.
We need automate this process.
This process of the automation include:
  Charge spectrum Value of the gain.
  Database
  Automation Arduino Mega, LabView.
15

## Slide 18: Prototype of the card
First prototype: 4 or 8 channels (NEXT-100)
16

## Slide 19: This is all
17

## Slide 20: Conclusiones y Resultados
Hemos desarrollado el protocolo para la preparación de haces de fibras centelleadoras.
  Diseño y construcción de una guillotina.
Hemos desarrollado un método de estabilización de la ganancia de SiPMs frente a variaciones de la temperatura.
Hemos diseñado y construido un primer prototipo que demuestre el concepto de medida de la actividad del tritio con fibras centelleadoras.
Hemos diseñado y montado de la cadena electrónica de adquisición de datos de este prototipo y hemos realizado la toma y análisis de los datos.
Hemos programado un paquete en Geant 4 que simula la señal de tritio en fibras centelleadoras y que constituye la base para simular todos los prototipos del proyecto TRITIUM que se construyan en un futuro.

## Slide 21: Investigaciones a realizar en un futuro inmediato
Siguiente prototipo:
  SiPM:
    PMTs:
    SiPM:
  SiPM:

## Slide 22: Investigaciones a realizar en un futuro inmediato
  Optimización de la colección de luz de las fibras centelleadoras.
  Realización de un prototipo con SiPMs.
  Diseño de tarjetas y chips de adquisición de datos de múltiples haces de fibras centelleadoras y automatización de la calibración de un gran número de SiPM.
  Optimización de la forma geométrica del prototipo.
  Diseño de un sistema de control de temperatura.

## Slide 23: Previsiones de futuro
Siguiente prototipo:
  SiPM:
    PMTs:
    SiPM:
    Nuevas piezas de sujeción.
  SiPM:
  Tarjeta conversora (IFIC, NEXT-100, Automatización).
    Automatización
    Gran número de SiPM
    IFIC,

## Slide 24: Previsiones de futuro
Siguiente prototipo:
  SiPM:
    PMTs:
    SiPM:
    Nuevas piezas de sujeción.
  SiPM:
  Tarjeta conversora.
    Automatización
    Gran número de SiPM
    IFIC,
    LabView
    Arduino Mega

## Slide 25: Previsiones de futuro
Siguiente prototipo:
  Clad en la fibras.
    Deposición de aluminio por evaporación al vacío.
  Electrónica de bajo ruido.
  Simulaciones
  Cambio de la forma del prototipo.
  Sistema de control de temperatura.

## Slide 26: Sin clad microscopio de RX